# PART 1 – GENERAL

  - SUMMARY

- This section includes the following:

- Bicycle Lockers (MADLocker™)

  - QUALITY ASSURANCE

- Installer Qualifications: An experienced installer who has completed installation of similar bicycle parking racks.

- Manufacturer Qualifications: Graber Manufacturing, Inc. is a skilled manufacturer of bicycle parking racks since 1989.

- Source Limitations: For consistent quality in appearance and physical properties obtain each product from Graber Manufacturing, Inc.

- Product Options: Drawings indicate size, shape and dimensional requirements of furnishings for the purpose of customer sourcing.

  - SUBMITTALS

- Product Data: Include physical characteristics such as materials, specifications and finish.

- Drawings: Show details including dimensions, materials, and options for each product.

- Samples for Verification: Finish samples of the color and type of powder coat will be provided upon request.

- Maintenance Data: For each product include the recommended methods for repairing damage to the powder coat and materials finish will be provided.

  - DELIVERY, STORAGE AND HANDLING

- Store product(s) in original undamaged packaging and containers until ready for installation.

- Handle powder coated product(s) with sufficient care to prevent any scratches or damage to the finish.

  - WARRANTY

- Bicycle lockers carry a one year manufacturer’s limited warranty against defects in materials and workmanship. The warranty period begins the date of invoice.

### PART 2 - PRODUCTS

  - ACCEPTABLE MANUFACTURERS

- Madrax, a division of Graber Manufacturing, Inc. 1080 Uniek Drive, Waunakee, WI 53597. Toll free phone: 800-448-7931. Local phone: 608-849-1080.

  - MATERIALS

- Powder Coating: Triglycidyl isocyanurate (TGIC) powder, a polyester coating. Coating is applied so that the thickness is 3.5 to 4.5 mils.

- Color as selected by architect from manufacturer’s full range of standard colors.

- Galvanizing: Standard specification for zinc (hot-dip galvanized) coatings on iron and steel products

  - Finish is bright in appearance for 6 to 12 months after processing.  The finish dulls to a matt grey after during this period of time.

  - The product will have vent holes to allow gases to escape a molten galvanize to enter internal spaces.

  - Surface quality will meet the American Galvanizing Association standards.

  - BICYCLE LOCKERS

- MADLocker™: The bicycle locker shall be the ML__-__-__-P (insert locker style, number of bikes, and optional floor). Manufactured by Madrax, a division of Graber Manufacturing, Inc.

            - Galvanized and powder coated version components:

              - Exterior walls, tops, floors, doors, partitions and stiffeners shall be constructed of 16 ga. G90 bonderized steel.

              - Door frames shall be constructed of 12 ga. carbon cold rolled steel. Hot dip galvanized after fabrication.

              - Door hinge shall be constructed of 15 ga. stainless steel.

              - Locking bar shall be constructed of 3/4” wide x 3/16” thick (19.05mm x 4.76mm) stainless steel.

            - Handle/Lock options:

- Heavy duty pop-out “T” handle with two user keys (keyed differently).

- Stainless steel padlock style handle (padlock not included).

- Stainless steel U-lock and padlock style handle (padlock and U-lock not included).

  - REFERENCES

- Steel Sheet:

  - ASTM A653 Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

- Door Frame:

- ASTM A1008 Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low Alloy with Improved Formability, Solution Hardened, and Bake Hardenable

- Door Hinge:

- ASTM A304 Standard Specification for Carbon and Alloy Steel bars Subject to End-Quench Hardenability Requirements

- Locking Bar Mechanism:

1.   ASTM A304 Standard Specification for Carbon and Alloy Steel bars Subject to End-Quench Hardenability Requirements

PART 3 – EXECUTION

3.1       INSTALLATION

- Install in accordance with manufacturer’s instructions.

- Embedded mounting: Material is to be extended a minimum of 10” (254mm) below finish surface and cast in concrete.

- Surface mounting: Location and drilling of holes for inserts included.

- Some assembly required.